Metadata: PTSP Winter 0405 Data.xls 


METADATA

Winter 2004/2005 Dataset

Putney Study Plot (PTSP)

Senator Beck Basin Study Area (SBBSA), San Juan Mountains 

I.  Putney Study Plot (PTSP)

1) Site

a) Putney Study Plot (PTSP)

i) RF Station ID = 1

(1) 1 hour data arrays:  Flag field = 101

(2) 3 hour data arrays: Flag field = 103

(3) 24 hour data arrays: Flag field = 124

b) Site unlocked; instruments and tool case locked with keyed padlock

c) Lat/Lon: 37( 53' 34" N, 107( 41' 42" W; NAD 1927

d) Elevation: 12,325 feet, 3,757 meters

e) Aspect: level and elevated 'sub-summit' location on N/S ridgeline

f) Slope Angle: 0 degrees

g) Photographs: http://www.snowstudies.org/senbeck_sa.html
h) Changes to site: first year of operation; no alterations to tundra site

i) Comments: PTSP utilizes a 30' steel mast installed by researchers in the early 1970's 

2) Operation Status

a) Installation operated for collection of 'Winter' datasets only, (October 1 through late May), due to lightning damage potential

b) Winter 2004/2005 dataset from 0000 hrs October 5, 2004 (day-of-year 279) through 2400 hrs May 28, 2005 (DOY 148).

i) PTSP underwent major upgrade and re-programming in late 2004 and early 2005

(a) No data was collected DOY 290 (October 16, 2004) during system conversion

c) All data collected on Mountain Standard Time, by day-of-year (DOY)

i) System clocks not switched from/to Mountain Daylight Time in Fall or Spring

ii) 24 hour summary datasets (Flag = 224) are calendar day 

3) Type of Site

a) Study Plot: generally 'flat' and planar alpine basin site, exposed to wind

4) Power

a) Solar powered by 10 watt photovoltaic panel providing regulated charge to a 12 amp hour lead-acid 12V DC battery.

5) Sensors

a) Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: WM61999

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 9.5 m

(b) Distance from tower or obstacle: 0.5 m

(c) Date installed at PTSP: October 4, 2004  (DOY 278); 

(d) Service/calibration dates: new instrument at installation; original calibration July 9, 2004. 

(e) Comments: mounted to arm extending north from mast

b) Air Temperature and Humidity

i) Properties

(a) Make: Campbell/Vaisala 

(b) Model: HMP-35C

(c) Serial Number: 7063

(d) Type: Vaisala humiter and Fenwall UUT51J1 thermistor

ii) Installation

(a) Height above ground: 3.1 m

(b) Date installed at PTSP: December 11, 2004 (DOY 346)

(c) Service/calibration dates: serviced and recalibrated by Campbell Scientific November, 2004.  (CS500-U sensor deployed from October 3, 2004 (DOY 277) through December 

(d) Comments: mounted on east side of mast. 

6) Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: 40362

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: September, 2004

f) Date installed at PTSP: October 3, 2005 (DOY 277)

g) Service/calibration dates: original calibration certificate September 16, 2004

7) Data Retrieval

a) Radio telemetry using phone-to-RF base station; no repeater utilized

i) Campbell Scientific model RF 310M modem; serial #6928

ii) Model RF310 Maxon SD-125 V2 VHF radio: serial #030604688

iii) Cellwave PS1121-2 dipole antenna 

8) Software

a) Campbell Scientific LoggerNet 2.1c

b) Two PTSP Edlog (LoggerNet 2.1c) programming versions (V1 and V2) utilized during Winter 0405, as new instrumentation came on-line. 

9) Observer Contact Information

a) Name:  Chris Landry - Executive Director

b) Agency:  Center for Snow and Avalanche Studies

c) Address:  PO Box 190, Silverton, CO, USA 81433

d) Telephone:  (970) 387-5080

e) Email:  clandry@snowstudies.org
f) Website: http://www.snowstudies.org/index.html



10) Data processing and output methods (data points as labeled in Excel Spreadsheet):

a) Measurement execution interval:  5 seconds

b) Measurements: see table on following page 

Data processing and output methods (data points as labeled in Excel workbook PTSP Winter 0405 Data.xls):

Spreadsheet Labels 

(some abbreviations expanded)
Loc'n

#
LoggerNet 2.1c

Ouput Instruction
Type of

Measurement
Notes

Flag
1
P80
na
201 = 1 hour array

203 = 3 hour array

212 = solar noon array

224 = 24 hour array

Year
2
P77
Na
Calendar year 

Day of Year
3
P77
na
Sequential day of calendar year

Time MST
4
P77
na
Mountain Standard Time at end of array period, in military time; previous day at midnight, 2400 at midnight

Min Air C 

Time Minimum
5

6
P74
Minimize
Array minimum air temperature (C), time of minimum

Max Air C

Time Maximum
7

8
P73
Maximize
Array maximum air temperature (C), time of maximum

Air F Min
9
P74
Minimize
Array minimum air temperature (F)

Air F Max
10
P73
Maximize
Array maximum air temperature (F)

RH
11
P70
Sample
Samples relative humidity (%) once at end of array

Peak Gust MPH 

Time Peak Gust

Peak Gust MS

S(Scalar) Avg Wd MPH

U(Resultant) Avg Wd MPH

S(Scalar) Avg Wd MS

U(Resultant) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
12

13

14

15

16

17

18

19

20
P73

P69
Maximize

Wind vector
Array peak gust in MPH, MS

P69 output option '2': scalar mean horizontal wind speed S; resultant mean wind speed U; resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm. (See Note 1 below table)

Sys Volts
21
P70
Sample
Voltage at datalogger (prior to regulation) sampled once at end of array 

Day Avg Air C
22
P71
Average
Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs

Day Avg Air F
23
P71
Average
Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs

NOTES:

(1) Output option #1  producing scalar average mean wind speeds only, with no directional weighting for average direction, used from October startup through December 10, 2004 (DOY 345).  Output option #2 used from December 11, 2004 (DOY 346) onward through end of season, producing scalar and resultant mean wind speeds, and direction-weighted wind direction averages.

Page 1 of 3

