Metadata: PTSP Winter 0506 Data.xls 


METADATA

Winter 2005/2006 Dataset

Putney Study Plot (PTSP)

Senator Beck Basin Study Area (SBBSA), San Juan Mountains 

I.  Putney Study Plot (PTSP)

1) Site

a) Putney Study Plot (PTSP)

i) RF Station ID = 1

(1) 1 hour data arrays:  Flag field = 101

(2) 3 hour data arrays: Flag field = 103

(3) 24 hour data arrays: Flag field = 124

b) Site unlocked; datalogger enclosure locked with keyed padlock

c) Lat/Lon: 37( 53' 34" N, 107( 41' 42" W; NAD 1927

d) Elevation: 12,325 feet, 3,757 meters

e) Aspect: level 

f) Slope Angle: 0 degrees

g) Photographs: http://www.snowstudies.org/senbeck_sa.html
h) Changes to site: no alterations to tundra site since original installation aside from removal of obsolete equipment from mast and cleanup of power and data land lines

i) Comments: PTSP utilizes a 30' steel mast installed on private property in the early 1970's; site used with permission of property owner.

2) Operation Status

a) Installation operated for collection of 'Winter' datasets only, (October 1 through late May/early June); no summer operations due to lightning damage potential

b) Winter 2005/2006 dataset from 0000 hrs October 8, 2004 (day-of-year 281) through 2400 hrs June 5, 2006 (DOY 156).

i) Late fall lightning activity delayed installation until October 8, 2005.

c) All data collected on Mountain Standard Time, by day-of-year (DOY)

i) System clocks not switched from/to Mountain Daylight Time in Fall or Spring

ii) 24 hour summary datasets (Flag = 224) are calendar day 

3) Type of Site

a) Study Plot: elevated and prominent 'sub-summit' location on N/S ridgeline.

4) Power

a) Solar powered by 10 watt photovoltaic panel providing regulated charge to a 12 amp hour lead-acid 12V DC battery.

5) Sensors

a) Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: WM61999

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 9.5 m

(b) Distance from tower or obstacle: 0.5 m

(c) Date originally installed at PTSP: October 4, 2004  (DOY 278); 

(d) Service/calibration dates: new instrument at installation; original calibration July 9, 2004. 

(e) Comments: mounted to arm extending due north from mast

b) Air Temperature and Humidity

i) Properties

(a) Make: Campbell/Vaisala 

(b) Model: HMP-35C

(c) Serial Number: 7063

(d) Type: Vaisala humiter and Fenwall UUT51J1 thermistor

ii) Installation

(a) Height above ground: 3.1 m

(b) Date originally installed at PTSP: December 11, 2004 (DOY 346)

(c) Service/calibration dates: serviced and recalibrated by Campbell Scientific November, 2004. 
(d) Comments: mounted on east side of mast at 3.1 m above ground to prevent damage from blowing gravel/rock/sand. 

6) Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: 40362

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: September, 2004

f) Date originally installed at PTSP: October 3, 2005 (DOY 277)

g) Service/calibration dates: original calibration certificate September 16, 2004

7) Data Retrieval

a) Radio telemetry using phone-to-RF base station; no repeater utilized

i) Campbell Scientific model RF 310M modem; serial #6928

ii) Model RF310 Maxon SD-125 V2 VHF radio: serial #030604688

iii) Cellwave PS1121-2 dipole antenna 

8) Software

a) Campbell Scientific LoggerNet 2.1c

b) One PTSP Edlog (LoggerNet 2.1c) programming version (V1) utilized during Winter 2005/2006. 

9) Observer Contact Information

a) Name:  Chris Landry - Executive Director

b) Organization:  Center for Snow and Avalanche Studies

c) Address:  PO Box 190, Silverton, CO, USA 81433

d) Telephone:  (970) 387-5080

e) Email:  clandry@snowstudies.org
f) Website: http://www.snowstudies.org/index.html



10) Data processing and output methods (data points as labeled in Excel Spreadsheet):

a) Measurement execution interval:  5 seconds

b) Measurements: see table below 

Data processing and output methods (data points as labeled in Excel workbook PTSP Winter 0506 Data.xls):

Spreadsheet Labels 

(some abbreviations expanded)
Loc'n

#
LoggerNet 2.1c

Ouput Instruction
Type of

Measurement
Notes

Flag
1
P80
na
201 = 1 hour array

203 = 3 hour array

212 = solar noon array

224 = 24 hour array

Year
2
P77
Na
Calendar year 

Day of Year
3
P77
na
Sequential day of calendar year

Time MST
4
P77
na
Mountain Standard Time at end of array period, in military time; previous day at midnight, 2400 at midnight

Min Air C 

Time Minimum
5

6
P74
Minimize
Array minimum air temperature (C), time of minimum

Max Air C

Time Maximum
7

8
P73
Maximize
Array maximum air temperature (C), time of maximum

Air F Min
9
P74
Minimize
Array minimum air temperature (F)

Air F Max
10
P73
Maximize
Array maximum air temperature (F)

RH
11
P70
Sample
Samples relative humidity (%) once at end of array

Peak Gust MPH 

Time Peak Gust

Peak Gust MS

S(Scalar) Avg Wd MPH

U(Resultant) Avg Wd MPH

Avg Wind Dir'n

Std Dev Dir'n

S(Scalar) Avg Wd MS

U(Resultant) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
12

13

14

15

16

17

18

19

20

21

22
P73

P69
Maximize

Wind vector
Array peak gust in MPH, MS

P69 output option '2': scalar mean horizontal wind speed S; resultant mean wind speed U; resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm.

Sys Volts
23
P70
Sample
Voltage at datalogger (prior to regulation) sampled once at end of array 

Day Avg Air C
24
P71
Average
Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs

Day Avg Air F
25
P71
Average
Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs

Page 1 of 3

