METADATA

Winter 2003/2004 and Summer 2004 Datasets

Swamp Angel Study Plot 

Senator Beck Basin Study Area (SBBSA), San Juan Mountains 

I.  Swamp Angel Study Plot (SASP)

1) Site

a) Swamp Angel Study Plot (SASP)

i) RF Station ID = 3

(1) 1 hour data arrays:  Flag field = 301

(2) 3 hour data arrays: Flag field = 303

(3) 24 hour data arrays: Flag field = 324

b) Site unlocked; instruments and tool case locked with keyed padlock

c) Lat/Lon: 37( 54' 25" N, 107( 42' 41" W; NAD 1927

d) Elevation: 11,050 feet, 3,368 meters

e) Aspect: NNE

f) Slope Angle: 3 degrees

g) Photographs:  http://www.snowstudies.org/senbeck_sa.html
h) Changes to site: first year of operation; no trees or brush cleared from site; no changes to ground surface

i) Comments: SASP authorized by the Uncompahgre National Forest under a Special Use Permit

2) Operation Status

a) Installation built for continuous operations and collection of continuous 'Winter' and 'Summer' datasets

i) Winter datasets defined as October 1 (start of 'water year') through last day of spring (day before summer solstice)

b) 2003/2004 Winter dataset from November 8, 2003 (startup - see below) through 6/20/04 

c) All data collected on Mountain Standard Time, by Julian Day

i) Clocks not switched to Mountain Daylight Time in Spring

ii) 24 hour summary datasets (Flag = 324) are calendar day

d) Installation completed and winter data collection began  at 1400 hrs on November 8, 2003

i) Season total precip counter set at 60 mm precipitation to-date on November 8, 2003

(1) SASP received 60 mm precipitation 10/1/03 through 11/7/03 per manual storm board measurements 

e) Winter dataset terminated at 2400 hrs on 6/20/04 

i) Last day of Spring, 2004

3) Type of Site

a) Study Plot; generally 'flat', planar, sheltered (from wind) site

4) Power

a) Solar powered by 18 watt photovoltaic panel providing regulated charge to a 80-100 amp hour gel battery; DC power.

i) DC supply from battery to datalogger regulated at 13.0 volts maximum

5) Sensors

a) Wind Speed and Direction

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: #12387

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 5.25 m

(b) Distance from tower or obstacle: 1 m

(c) Date installed at SASP: November 8, 2003

(d) Service/calibration dates: not serviced since purchase September 1992

(e) Comments: instrument in excellent condition when installed; within self-servicing tolerances 

b) Air Temperature and Humidity

i) Properties

(a) Make: Campbell Scientific (Vaisala humiter and Fenwall thermistor)

(b) Model: HMP35-C

(c) Serial Number: #7063

(d) Type: 

ii) Installation

(a) Height above ground: adjusted periodically to nominal 1.3-1.5 m above snow surface/ground

(b) Distance from tower or obstacle: 0.3 m

(c) Date installed at SASP: November 8, 2003

(d) Service/calibration dates: not serviced since purchase September 1992

(e) Comments: 12 plate Gill radiation shield; instrument in excellent condition when installed

c) Snowpack Depth

i) Properties

(a) Make: Campbell Scientific

(b) Model: UDG01

(c) Serial Number: #C1374

(d) Type: sonar

ii) Installation

(a) Height above ground: 5.0 m

(b) Distance from tower or obstacle: 1.5 m

(c) Date installed at SASP: November 8, 2003

(d) Service/calibration dates: internal desiccant replaced November 8, 2003; 'white face' replaced with 'gray face' aprox 1994; no further service since 1994

(e) Comments: instrument in excellent condition when installed

d) Precipitation

i) Properties

(a) Make: ETI Instrument Systems

(b) Model: Noah II

(c) Serial Number: #144

(d) Type: 'TBO' simulating gauge

ii) Installation

(a) Height above ground: 4.5 m

(b) Distance from tower or obstacle: free standing 0.30 m diameter standpipe located aprox. 8 m from primary instrument mast, 15 m from nearest (lone) tree

(c) Date installed at SASP: 11/8/04

(d) Service/calibration dates: gauge calibrated and serviced by ETI December 2003

(e) Comments: gauge utilizes alcohol antifreeze covered with oil skim and transducer to collect and weigh precipitation in 12" orifice collection chamber; ETI-style vinyl windscreen; gauge automatically cycles (dumps fluid into storage standpipe) and self-charges with fresh antifreeze

e) Solar Flux 

i) Properties

(a) Make: Licor (Campbell Scientific)

(b) Model: LI 200SZ (Campbell Scientific Model #LI200S)

(c) Serial Number: #PY 16599

(d) Type: pyranometer spectral response 400-1100 (m

ii) Installation

(a) Height above ground: 4.75 m

(b) Distance from tower or obstacle: 0.25 m

(c) Date installed at SASP: November 8, 2003

(d) Service/calibration dates: calibrated September, 1994 (1.6% drift since prior calibration July 1992)

(e) Comments: sensor is mounted level with unimpeded southern sky view; black metal dome around sensor (sensor extends 1 cm above dome opening, with free air circulation around sensor) inhibits but does not entirely prevent occasional snow accumulation on sensor, impeding incoming radiation. 

f) Snow Temperature

i) Properties

(a) Make: Campbell Scientific

(b) Model: #107

(c) Serial Number: na

(d) Type: 

ii) Installation

(a) Height above ground: variable: adjusted throughout winter season

(b) Distance from tower or obstacle: sensors located minimum of 1.5 meters from instrument mast

(c) Date installed at SASP: November 8, 2003

(d) Service/calibration dates: sensors not serviceable; all three sensors were known to equilibrate at 0.0( C in slushy snow mixture in seasons prior to 2003/2004 SASP installation

(e) Comments: sensors mounted in copper tubing 'trident' installed horizontally in undisturbed area of snowpack with sensor tip extending 2-3 cm beyond copper tubing; sensors spaced 20 cm apart (vertically)in the trident array; sensor locations above ground not specified in dataset and varied throughout season; snow temperature sensor array often adjusted to locate middle sensor 10 cm below snow surface following mid-winter storms, with top sensor 10 cm above snow surface, in order to track near-surface temperature gradients; snow temperature sensor array left installed at mid-snowpack level from April until complete snowmelt at the end of May.

g) Barometric Pressure

i) Properties

(a) Make: Vaisala (Campbell Scientific) 

(b) Model: PTB101B (CS105)

(c) Serial Number: B2730009

(d) Type: silicon capacitive pressure sensor

ii) Installation

(a) Height above ground: 3 m

(b) Distance from tower or obstacle: located in datalogger enclosure

(c) Date installed at SASP: November 8, 2003

(d) Service/calibration dates: not serviced since purchase 9/95

(e) Comments: none

6) Dataloggers

a) Make: Campbell Scientific

b) Model: CR10

c) Serial Number: #14652

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: 9/92

f) Date installed at SASP: November 8, 2003

g) Service/calibration dates: PROM chip replaced 9/93; internal desiccant changed annually and most recently on November 8, 2003 

h) Comments: none

7) Data Retrieval

a) Radio telemetry using phone-to-RF base station, one RF repeater-only node

i) Campbell Scientific model RF 310M modem; serial #1973

ii) Model RF310 Maxon SD-125 V2 VHF radio: serial #030604719

iii) Cellwave PS1121-2 dipole antenna at SASP, repeater, and base nodes

8) Software

a) Campbell Scientific PC208W 2.0

9) Observer Contact Information

a) Name:  Chris Landry - Executive Director

b) Agency:  Center for Snow and Avalanche Studies

c) Address:  PO Box 190, Silverton, CO, USA 81433

d) Telephone:  (970) 387-5080

e) Email:  clandry@snowstudies.org
f) Website: http://www.snowstudies.org/index.html



10) Data processing and output methods (data points as labeled in Excel Spreadsheet):

a) Measurement execution interval:  5 seconds

b) Measurements: see table below

Spreadsheet

Label(s)
Location

#
PC208W

Instruction
Type of

Measurement
Notes

Flag
1
P80
na
Identifies array: 

   101 = 1 hour array

   103 = 3 hour array

   124 = 24 array

Julian Day
2
P77
na
Julian Calendar day

Time
3
P77
na
Time at end of array period, in military time; previous day at midnight, 2400 at midnight

Min Air C 

Min Air F
4

8
P74
Minimize
Array minimum value

Max Air C

Max Air F
6

9
P73
Maximize
Array maximum value

Avg T Top Snow C

Avg T Mid Snow C

Avg T Bot Snow C
10

11

12
P71
Average
Array average value

RH
13
P70
Sample
Samples RH once at end of array

Peak Gust MPH

Peak Gust MS 

Avg Wind MPH

Avg Wind MS

Avg Wind Dir'n

Std Dev Dir'n
14

16

17

20

18, 21

19, 22
P69
Wind vector
Output option '0': mean horizontal windspeed, unit vector wind direction, array standard deviation wind direction (Yamartino algorithm, without subintervals)

Array Tot H2O
23
P72
Totalize
Total mm precipitation in array

Day Tot H2O
24
P70
Sample
Running daily total mm of precipitation

Season Tot H2O
25
P70
Sample
Running water year total mm of precipitation

Total kJ
26
P72
Totalize
Array total kilojoules solar flux density

Avg kW
27
P71
Average
Array average kilowatts solar flux

Peak kW
28
P73
Maximize
Array maximum kilowatts solar flux

Max Snow Depth CM
30
P73
Maximize
Maximum snowpack height above ground, in cm, during array

System Voltage
31
P70
Sample
Voltage at datalogger sampled once at end of array

Avg Inches HG
32
P71
Average
Average barometric pressure, in inches of mercury, for the last five minutes of 1 hour arrays (only)

Day Avg Air C

Day Avg Air F
33

34
P71
Average
Averages all 17,280 measurements of air temperature collected during a day

