Metadata: SASP Winter 0405 Data.xls 


METADATA

Winter 2004/2005 Dataset

Swamp Angel Study Plot 

Senator Beck Basin Study Area (SBBSA), San Juan Mountains 

I.  Swamp Angel Study Plot (SASP)

1) Site

a) Swamp Angel Study Plot (SASP)

i) RF Station ID = 3

(1) 1 hour data arrays:  Flag field = 301

(2) 3 hour data arrays: Flag field = 303

(3) Solar Noon arrays: Flag field = 312

(4) 24 hour data arrays: Flag field = 324

b) Site unlocked; instruments and tool case locked with keyed padlock

c) Lat/Lon: 37( 54' 25" N, 107( 42' 41" W; NAD 1927

d) Elevation: 11,050 feet, 3,368 meters

e) Aspect: NNE

f) Slope Angle: 3 degrees

g) Photographs:  http://www.snowstudies.org/senbeck_sa.html
h) Changes to site: first year of operation; no trees or brush cleared from site; no changes to ground surface

i) Comments: SASP authorized by the Uncompahgre National Forest under a Special Use Permit

2) Operation Status

a) Installation built for continuous collection of 'Winter' and 'Summer' datasets spanning the 'water year' (October 1 through September 30)

i) 'Winter' datasets begin October 1 (start of 'water year') through last day of Spring (day before summer solstice)

ii) 'Summer' datasets extend from Summer Solstice through September 30 (day before start of 'water year' 

b) Winter 2004/2005 dataset from 0000 hrs October 1, 2004 (day-of-year 275) through 2400 hrs June 20, 2005 (day-of-year 171).

i) SASP underwent major upgrades and re-programming in late 2004 and early 2005 resulting in missing data; see comments embedded in Excel worksheets
ii) Season total precip counter started at 0 mm precipitation on October 1, 2004

c) All data collected on Mountain Standard Time, by day-of-year (DOY)

i) Clocks not switched from/to Mountain Daylight Time in Fall or Spring

ii) 24 hour summary datasets (Flag = 324) are calendar day

3) Type of Site

a) Study Plot: generally 'flat' and planar subalpine site sheltered from wind

4) Power

a) Solar powered by 40 watt photovoltaic panel providing regulated charge to a 400 amp hour gel 12V DC battery bank. 

i) DC supply from datalogger to Noah II regulated at 13.0 volts maximum

5) Sensors

a) Upper Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: WM61653

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 6.0 m

(b) Distance from tower or obstacle: 1.0 m

(c) Date installed at SASP: October 22, 2004  (DOY 296); 

(d) Service/calibration dates: calibrated June 3, 2004 

(e) Comments: Wind Monitor Ser. #12387 used for period October 1, 2004 through October 22, 2004. Wind Monitor Ser. #WM-61653 new when installed on October 22, 2004.

b) Lower Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: 12387

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 3.8 m

(b) Distance from tower or obstacle: 1 m

(c) Date installed at SASP: January 29, 2005

(d) Service/calibration dates: originally purchased September 1992; serviced by Campbell Scientific Inc. and verified within specifications November 11, 2004.

(e) Comments: Data recorded on secondary Campbell Scientific CR-10 datalogger (Ser. #14652, recalibrated December 2004), time-synchronized to the SASP primary datalogger.  

c) Air Temperature and Humidity

i) Properties

(a) Make: Campbell/Vaisala (CE humiter 50YC)

(b) Model: CS500-U

(c) Serial Number: #P4810054

(d) Type:

ii) Installation

(a) Height above ground: 3.4 m from October 22, 2004  (DOY 296) through February 16, 2005 (DOY 47), then raised to 4.5 m above ground for remainder of season (due to depth of snowpack).  

(b) Distance from tower or obstacle: 1.3 m

(c) Date installed at SASP: October 22, 2004 (DOY 296) (See Comment below).

(d) Service/calibration dates: refurbished RH chip and serviced July 15, 2004 by Campbell Scientific Inc. 

(e) Comments: Campbell Scientific HMP35-C sensor (Ser. #7063) deployed from October 1, 2004 through October 22, 2004, then replaced by CS-500U sensor. 

d) Snowpack Depth

i) Properties

(a) Make: Campbell Scientific

(b) Model: SR50

(c) Serial Number: none

(d) Type: ultrasonic depth sensor

ii) Installation

(a) Height above ground: 3.2 m from October 22, 2004  (DOY 296) through February 16, 2005 (DOY 47), then raised to 4.3 m above ground for remainder of season (due to depth of snowpack).

(b) Distance from tower or obstacle: 1.2 m

(c) Date installed at SASP: October 22, 2005 

(d) Service/calibration dates: new unit when installed; unit failed February 26, 2005. Substituted CSAS UDG01 (Ser. #C1374) operated from secondary CR10 datalogger) and/or Campbell Scientific loaner SR50 until CSAS SR50 was repaired and returned to service March 23, 2005, using a 'sample' (versus 'maximize') instruction thereafter.

(e) Comments: Campbell Scientific UDG01 (Ser. #C1374) sensor deployed October 1, 2004 through October 22, 2004, then replaced by SR50 sensor.  Wherever possible, bad data for short intervals were corrected by interpolation.  When bad data occurred over longer time periods, bad data were removed and no interpolation was performed resulting in missing data in some arrays.    

e) Precipitation

i) Properties

(a) Make: ETI Instrument Systems

(b) Model: Noah II

(c) Serial Number: #144

(d) Type: 'TBO' simulating gauge

ii) Installation

(a) Height above ground: 4.5 m

(b) Distance from tower or obstacle: free standing 0.30 m diameter standpipe located aprox. 8 m from primary instrument mast, 15 m from nearest (lone) tree

(c) Date installed at SASP: October 31, 2003

(d) Service/calibration dates: gauge calibrated and serviced December 2003

(e) Comments: gauge utilizes alcohol antifreeze covered with oil skim and transducer to collect and weigh precipitation in 12" orifice collection chamber; ETI-style vinyl windscreen; gauge automatically cycles (dumps fluid into storage standpipe) and self-charges with fresh antifreeze

f) Solar Flux & Albedo Sensors (six total)

i) Properties

(a) Make: all units Kipp & Zonen

(b) Model: CM21 (all five pyranometers) and CG4 (pyrgeometer)

(c) Serial Numbers, by unit/location: 

(i) Up-looking 'broad band' CM21 pyranometer: Ser. #041359

(ii) Up-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041354

(iii) Up-looking shadowed 'broad band' CM21 pyranometer: Ser. #041360

(iv) Up-looking CG4 pyrgeometer: Ser. #040743

(v) Down-looking 'broad band' CM21 pyranometer: Ser. #041358

(vi) Down-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041353

(d) Type: spectral response, by types:

(i) 'Broad band' CM21 pyranometer: 305-2800 nm (50% points)

(ii) 'NIR to SWIR' CM21-RG695 pyranometer: 780-2800 nm (50% points)

(iii) CG4 pyrgeometer: 4.5-42 µm (50% points)

ii) Installation

(a) Height above ground: 

(i) Up-looking array: 5.7 m

(ii) Down-looking array: 3.1 m from January 25, 2005 (DOY 25) through February 16, 2005 (DOY 47), then raised to 4.2m above ground for remainder of season (due to depth of snowpack)

(b) Distance from tower or obstacle: 

(i) Up-looking array: 0.8 - 1.0 m

(ii) Down-looking array: 1.5 - 1.6 m

(c) Date installed at SASP: January 25, 2005 (DOY 25); all sensors

(d) Service/calibration dates: all new units upon installation; all units calibrated by Kipp & Zonen in November 2004

(e) Comments: no ventilation units installed; up-looking sensors routinely covered by fresh snow and then manually cleared as soon as practicable after end of precipitation events.  Up-looking 'shadowed' CM21 pyranometer deployed in Swiss ASRB-style array for 5 minutes of shadowing at/about solar noon each day.

g) Infrared Snow Surface Temperature

i) Properties

(a) Make: Everest Interscience

(b) Model: Series 4000.4ZL

(c) Serial Number: #6148

(d) Type: millivolt output type

ii) Installation

(a) Height above ground: variable.  Adjusted frequently to maintain at aprox. 1 meter above snow surface throughout winter.

(b) Distance from tower or obstacle: mounted on mast to look at aprox. 30 degree angle away from mast at snow surface

(c) Date installed at SASP: March 9, 2005 (DOY 68)

(d) Service/calibration dates: three unsuccessful attempts to deploy prior to March 9, 2005 due to defective components; rebuilt and re-calibrated instrument installed March 9, 2005

(e) Comments: operating range -40 C to +80 C; emissivity fixed at 0.98.

h) Snow Temperature

i) Properties

(a) Make: Campbell Scientific

(b) Model: #107 (five sensors)

(c) Serial Number: na 

(d) Type: 

ii) Installation

(a) Height above ground: variable.  Sensor array relocated throughout winter season (see below).

(b) Distance from tower or obstacle: sensors located minimum of 5 meters from instrument mast

(c) Date installed at SASP: January 25, 2005 (DOY 25)

(d) Service/calibration dates: sensors not serviceable; all five sensors new upon installation

(e) Comments: sensors mounted in copper tubing five-point 'trident' installed horizontally in undisturbed area of snowpack with sensor tips extending 5 cm beyond copper tubing; sensors spaced 10 cm apart (vertically)in the array; sensor locations above ground not specified in dataset and varied throughout season; snow temperature sensor array often adjusted to locate middle sensor at snow surface following mid-winter storms, with top two sensors 10 cm and 20 cm above snow surface, respectively, and lower sensors at -10 cm and -20 cm below the surface in order to track near-surface temperature gradients. Snow temperature sensor array data ends May 19, 2005 (DOY 139).

i) Barometric Pressure

i) Properties

(a) Make: Vaisala (Campbell Scientific) 

(b) Model: PTB101B (CS105)

(c) Serial Number: B2730009

(d) Type: silicon capacitive pressure sensor

ii) Installation

(a) Height above ground: 3 m

(b) Distance from tower or obstacle: located in datalogger enclosure

(c) Date installed at SASP: November 8, 2003

(d) Service/calibration dates: not serviced since purchase September 1995

(e) Comments: none

6) Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: 40363

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: September, 2004

f) Date installed at SASP: October 22, 2005 (DOY 296)

g) Service/calibration dates: original calibration certificate September 16, 2004 

h) Comments: new datalogger when installed.  Campbell Scientific CR10 datalogger (Ser. #14652) used for period October 1, 2004 through October 19, 2004 prior to installation of CR10X (Ser. #40363). 

7) Multiplexer

a) Make: Campbell Scientific

b) Model: AM16/32

c) Serial Number: 6695

d) Type: relay

e) Acquisition date: September, 2004

f) Date installed at SASP: October 22, 2004 (DOY 296)

g) Service/calibration dates: new when installed.

h) Comments: housed in own enclosure, with system voltage regulator device.

8) Data Retrieval

a) Radio telemetry using phone-to-RF base station; no repeater utilized

i) Campbell Scientific model RF 310M modem; serial #1973

ii) Model RF310 Maxon SD-125 V2 VHF radio: serial #030604719

iii) Cellwave PS1121-2 dipole antenna at SASP, repeater, and base nodes

9) Software

a) Campbell Scientific LoggerNet 2.1c

b) Four SASP Edlog (LoggerNet 2.1c) programming versions (V2, V3, V7 and V7a) utilized during Winter 0405, as new instrumentation came on-line and during equipment repairs.

10) Observer Contact Information

a) Name:  Chris Landry - Executive Director

b) Agency:  Center for Snow and Avalanche Studies

c) Address:  PO Box 190, Silverton, CO, USA 81433

d) Telephone:  (970) 387-5080

e) Email:  clandry@snowstudies.org
f) Website: http://www.snowstudies.org/index.html



11) Data processing and output methods (data points as labeled in Excel Spreadsheet):

a) Measurement execution interval:  5 seconds

b) Measurements: see table on following page 

Data processing and output methods (data points as labeled in Excel workbook SASP Winter 0405 Data.xls):

	Spreadsheet Labels 

(some abbreviations expanded)
	Loc'n

#
	LoggerNet 2.1c

Instruction
	Type of

Measurement
	Notes

	Flag
	1
	P80
	na
	301 = 1 hour array

303 = 3 hour array

312 = solar noon array

324 = 24 hour array

	Year
	2
	P77
	Na
	Calendar year 

	Day of Year
	3
	P77
	na
	Sequential day of calendar year

	Time MST
	4
	P77
	na
	Mountain Standard Time at end of array period, in military time; previous day at midnight, 2400 at midnight

	Min Air C 

Time Minimum
	5

6
	P74
	Minimize
	Array minimum air temperature (C), time of minimum

	Max Air C

Time Maximum
	7

8
	P73
	Maximize
	Array maximum air temperature (C), time of maximum

	RH
	9
	P70
	Sample
	Samples relative humidity (%) once at end of array

	Upper Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Result) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	10

11

12

13

14

15
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S; resultant mean wind speed U; resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm. (See Note 1 below table)

	Lower Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Result) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	LW1

LW2

LW3

LW4

LW5

LW6
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S (ms); resultant mean wind speed U (ms); resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm. (See Note 2 below table)

	Py Dwn Unf W
	16
	P71
	Average
	Down-looking broadband pyranometer, in average watts/m2  

	Py Dwn Fil W
	17
	P71
	Average
	Down-looking NIR & SWIR filtered pyranometer, in average watts/m2  

	Py Up Unf W
	18
	P71
	Average
	Up-looking broadband pyranometer, in average watts/m2  

	Py Up Fil W
	19
	P71
	Average
	Up-looking NIR & SWIR filtered pyranometer, in average watts/m2  

	Py Up Sh W
	20
	P71
	Average
	Up-looking shadowed broadband pyranometer, in average watts/m2  

	Pyrgeom W
	21
	P71
	Average
	Up-looking pyrgeometer, in average watts/m2  

	Sno IR Temp
	22
	P71
	Average
	Average infra-red snow-surface temperature (degrees C) 

	SnoT Lo C
	23
	P71
	Average
	Mean temperature (C) of lowest snow temperature sensor in five-sensor array

	SnoT 2Lo C
	24
	P71
	Average
	Mean temperature (C) of 2nd lowest snow temperature sensor in five-sensor array

	SnoT Ctr C
	25
	P71
	Average
	Mean temperature (C) of center snow temperature sensor in five-sensor array

	SnoT 2Hi C
	26
	P71
	Average
	Mean temperature (C) of 2nd highest snow temperature sensor in five-sensor array

	SnoT Hi C
	27
	P71
	Average
	Mean temperature (C) of highest snow temperature sensor in five-sensor array

	Table continued next page

	Table continued

	HS M
	28
	P73 

P70
	Maximize

Sample
	Maximum height-of-snow during array (see note 3 below) 

Sample height-of-snow at end of array (see note 3 below)

	Sys Volts
	29
	P70
	Sample
	Voltage at datalogger (prior to regulation) sampled once at end of array 

	Array Tot H2O
	30
	P72
	Totalize
	Total mm precipitation during array period

	Day Tot H2O
	31
	P70
	Sample
	Running daily total mm of precipitation, 0000 hrs through 2400 hrs

	Season Tot H2O
	32
	P70
	Sample
	Running water year total mm of precipitation, beginning October 1

	Baro In HG
	33
	P71
	Average
	Average barometric pressure, in inches of mercury, sampling the last five minutes of 301 (1 hour) arrays only

	Day Avg Air C
	34
	P71
	Average
	Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs


NOTES:

(1) Output option #1 (scalar average mean wind speeds only, with no directional weighting for average direction) used from October startup through January 25, 2005.

(2) Output option #2 used from startup, January 29, 2005 onward.

(3) Instruction P73 (maximize) was utilized from October 23, 2004 (DOY 297) through March 22, 2005 (DOY 82) to log the maximum height-of-snow measured during a given array.  Instruction P70 (sample) was employed from March 23, 2005 (DOY 83) through the remainder of the season to measure height-of-snow once at the end of a given array.  Therefore, prior to March 23, 2005, 303 and 324 arrays contain the maximum height-of-snow reached during the respective time intervals (3 hour and 24 hour), whereas from March 23rd to the end of the season the 303 and 324 arrays contain a measurement of height-of-snow at the end of the respective time interval (a given three-hour period, or at 2400 hrs).  This change was required to reduce the number of faulty measurements made by the SR50 at SASP.  

Page 1 of 9

