Metadata: SASP Summer 2008 Data.xls 


METADATA

Summer 2008 Dataset

Swamp Angel Study Plot 

Senator Beck Basin Study Area (SBBSA), San Juan Mountains 

I.  Swamp Angel Study Plot (SASP)

1) Site

a) Swamp Angel Study Plot (SASP)

i) RF Station ID = 3

(1) 1 hour data arrays:  Flag field = 301

(2) 3 hour data arrays: Flag field = 303

(3) Solar Noon arrays: Flag field = 312

(4) 24 hour data arrays: Flag field = 324

b) Site unlocked; instruments and tool case locked with keyed padlock

c) Lat/Lon: 37( 54' 25" N, 107( 42' 41" W; NAD 1927

d) Elevation: 11,050 feet, 3,368 meters

e) Aspect: NNE

f) Slope Angle: 3 degrees

g) Photographs:  http://www.snowstudies.org/senbeck_sa.html
h) Changes to site: first year of operation; no trees or brush cleared from site; no changes to ground surface

i) Comments: SASP authorized by the Uncompahgre National Forest under a Special Use Permit

2) Operation Status

a) Installation built for continuous collection of 'Winter' and 'Summer' datasets spanning the 'water year' (October 1 through September 30)

i) 'Winter' datasets begin October 1 (start of 'water year') through last day of Spring (day before summer solstice)

ii) 'Summer' datasets extend from Summer Solstice through September 30 (day before start of 'water year' 

b) Summer 2008 dataset from 0100 hrs June 21, 2008 (day-of-year 173) through 2400 hrs September 30, 2008 (day-of-year 274).
i) Season total precip counter started at 0 mm precipitation on October 1, 2007.
c) All data collected on Mountain Standard Time, by day-of-year (DOY)

i) Clocks not switched from/to Mountain Daylight Time in Fall or Spring

ii) 24 hour summary datasets (Flag = 324) are calendar day

3) Type of Site

a) Study Plot: generally 'flat' and planar subalpine site sheltered from wind

4) Power

a) Solar powered by 40 watt photovoltaic panel providing regulated charge to a 400 amp hour gel 12V DC battery bank. 

i) DC supply from datalogger to Noah II regulated at 13.0 volts maximum

5) Sensors

a) Upper Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: WM61653

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 6.0 m

(b) Distance from tower or obstacle: 1.0 m

(c) Date installed at SASP: October 22, 2004 (DOY 296) 

(d) Service/calibration dates: calibrated June 3, 2004
b) Lower Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: 12387

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 3.8 m

(b) Distance from tower or obstacle: 1 m

(c) Date installed at SASP: January 29, 2005

(d) Service/calibration dates: originally purchased September 1992; serviced by Campbell Scientific Inc. and verified within specifications November 11, 2004.

c) Lower Air Temperature and Humidity

i) Properties

(a) Make: Campbell/Vaisala (CE humiter 50YC)

(b) Model: CS500-U

(c) Serial Number: #P4810054

(d) Type:

ii) Installation

(a) Height above ground: 3.4 m above ground

(b) Distance from tower or obstacle: 1.2 m

(c) Date originally installed at SASP: October 22, 2005 (DOY 296).

(d) Service/calibration dates: refurbished RH chip and serviced July 15, 2004 by Campbell Scientific Inc. 

(e) Comments: none

d) Upper Air Temperature and Humidity

i) Properties

(a) Make: Campbell Scientific

(b) Model: HMP-50YA

(c) Serial Number: A4210022

(d) Type: platinum resistance temp detector (PRT) and capacitive RH sensor

ii) Installation

(a) Height above ground: 5.95 m above ground

(b) Distance from tower or obstacle: 0.15 m

(c) Date originally installed at SASP: February 8, 2006 (DOY39).

(d) Service/calibration dates: new unit when installed

(e) Comments: NSIDC property
e) Snowpack Depth

i) Properties

(a) Make: Campbell Scientific

(b) Model: SR50

(c) Serial Number: C3852
(d) Type: ultrasonic depth sensor

ii) Installation

(a) Height above ground: 4.3 m above ground 

(b) Distance from tower or obstacle: 1.2 m

(c) Date installed at SASP: October 22, 2005 

(d) Service/calibration dates: sensor removed for testing and servicing by Campbell Scientific, including installation of a new transducer, on August 19, 2008 (DOY 232); returned to service on September 13, 2008 (DOY 257).
(e) Comments: during summer month sensor records plant heights and other objects (elk, deer, humans); considerable noise and missing data during summer months.    

f) Precipitation

i) Properties

(a) Make: ETI Instrument Systems

(b) Model: Noah II

(c) Serial Number: #144

(d) Type: 'TBO' simulating gauge

ii) Installation

(a) Height above ground: 4.5 m

(b) Distance from tower or obstacle: free standing 0.30 m diameter standpipe located aprox. 8 m from primary instrument mast, 15 m from nearest (lone) tree

(c) Date installed at SASP: October 31, 2003

(d) Service/calibration dates: gauge calibrated and serviced December 2003

(e) Comments: gauge utilizes alcohol antifreeze covered with oil skim and transducer to collect and weigh precipitation in 12" orifice collection chamber; ETI-style vinyl windscreen; gauge automatically cycles (dumps fluid into storage standpipe) and self-charges with fresh antifreeze

g) Solar Flux & Albedo Sensors (six total)

i) Properties

(a) Make: all units Kipp & Zonen

(b) Model: CM21 (all five pyranometers) and CG4 (pyrgeometer)

(c) Serial Numbers, by unit/location: 

(i) Up-looking 'broad band' (BB) location (SE arm) prior to recalibration, re-located to up-looking shadowed ‘broad band’ position after recalibration, CM21 pyranometer: Ser. #041359

(ii) Up-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041354

(iii) Up-looking shadowed 'broad band' prior to recalibration, re-located to up-looking ‘broad band’ position after recalibration, CM21 pyranometer: Ser. #041360

(iv) Up-looking CG4 pyrgeometer: Ser. #040743

(v) Down-looking 'broad band' (BB) CM21 pyranometer: Ser. #041358

(vi) Down-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041353

(d) Type: spectral response, by types:

(i) 'Broad band' CM21 pyranometer: 305-2800 nm (50% points)

(ii) 'NIR to SWIR' CM21-RG695 pyranometer: 780-2800 nm (50% points)

(iii) CG4 pyrgeometer: 4.5-42 µm (50% points)

ii) Installation

(a) Height above ground: 

(i) Up-looking array: 5.7 m

(ii) Down-looking array: 4.2m above ground 

(b) Distance from tower or obstacle: 

(i) Up-looking array: 0.8 - 1.0 m

(ii) Down-looking array: 1.5 - 1.6 m

(c) Date installed at SASP: January 25, 2005 (DOY 25); all sensors

(d) Service/calibration dates: all new units upon installation; all units calibrated by Kipp & Zonen in November 2004; all pyranometers intercalibrated September 2006; all sensors recalibrated by AccuFlux during Summer 2007.
(e) Comments: no ventilation units installed.  Up-looking 'shadowed' CM21 pyranometer deployed in Swiss ASRB-style array for 5 minutes of shadowing at/about solar noon each day.
h) Infrared Snow Surface Temperature (no summer data presented)

i) Properties

(a) Make: AlpuG GmbH

(b) Model: AlpuG SnowSurf

(c) Serial Number:  #6004

(d) Type: millivolt output type

ii) Installation

(a) Height above ground: 3.3m

(b) Distance from tower or obstacle: 1.3m

(c) Date originally installed at SASP: May 12, 2006 (DOY 132) 

(d) Service/calibration dates: AlpuG #6004 was a new unit when installed, calibrated March 30, 2006.

(e) Comments: AlpuG sensors emissivity fixed at 0.98 for snow surfaces, and not adjustable for soil or plant ground cover (i.e., prior to and after snowcover).
(f) Comments: Snowcover at SASP was fully ablated by June 17, 2008 (DOY169); sensor was removed from service on June 17, 2008 (DOY169), just prior to summer dataset beginning.
i) Snow Temperature (no summer data presented)

i) Properties

(a) Make: Campbell Scientific

(b) Model: #107 (five sensors)

(c) Serial Number: na 

(d) Type: 

ii) Installation

(a) Height above ground: sensor array stored on mast for summer.

(b) Distance from tower or obstacle: sensor array stored on mast for summer.

(c) Date installed at SASP: January 25, 2005 (DOY 25)

(d) Service/calibration dates: sensors not serviceable; all five sensors new upon installation

(e) Comments: sensors stored on mast during summer months; no summer data presented.

j) Barometric Pressure

i) Properties

(a) Make: Vaisala (Campbell Scientific) 

(b) Model: PTB101B (CS105)

(c) Serial Number: B2730009

(d) Type: silicon capacitive pressure sensor

ii) Installation

(a) Height above ground: 3 m

(b) Distance from tower or obstacle: located in datalogger enclosure

(c) Date installed at SASP: November 8, 2003

(d) Service/calibration dates: calibrated by Vaisala on August 8, 2006; measured error before calibration was -1.1 to -1.0 hPa, or aprox. -0.03 inches of mercury

k) Soil Heat Flux

i) Properties

(a) Make: REBS (Campbell Scientific) 

(b) Model: HFT-3.1

(c) Serial Number: H043140

(d) Type: thermopile

ii) Installation

(a) Height below ground surface ("A" horizon; no "O" horizon present): 3 cm

(b) Distance from tower or obstacle: aprox. 10 feet

(c) Date installed at SASP: July 11, 2005

(d) Service/calibration dates: new unit upon installation; original calibration October 7, 2004

(e) Comments: sensor located at shallow depth to facilitate snowpack/ground heat flux

l) Soil Temperature (four sensors)

i) Properties

(a) Make: Campbell Scientific

(b) Model: #107 

(c) Serial Number: na (none)

(d) Type: thermistor

ii) Installation

(a) Height below ground surface ("A" horizon; no "O" horizon present): at surface, -10 cm, -20 cm, -40 cm

(b) Distance from tower or obstacle: aprox. 10 feet

(c) Date installed at SASP: July 11, 2005

(d) Service/calibration dates: new units upon installation; sensors not serviceable;

(e) Comments: none

m) Soil Volumetric Water Content

i) Properties

(a) Make: Campbell Scientific

(b) Model: CS616

(c) Serial Number: na (none)

(d) Type: water content reflectometer

ii) Installation

(a) Height below ground surface ("A" horizon; no "O" horizon present): -10 cm

(b) Distance from tower or obstacle: aprox. 10 feet

(c) Date installed at SASP: July 11, 2005

(d) Service/calibration dates: new units upon installation; sensors not serviceable;

(e) Comments: the sensor is horizontally deployed, with both tines at the same level below, and parallel with, the ground surface.  Rocky soils required excavating a trench in which to place the sensor in order to assure a constant distance between the sensor's tines.  A soil block was kept intact, the sensor was placed in the trench and covered with loose soil, then the soil block was replaced over the sensor. 

6) Primary Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: X 40363

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: September, 2004

f) Date installed at SASP: October 22, 2005 (DOY 296)

g) Service/calibration dates: new equipment original calibration certificate September 16, 2004
h) Service/calibration dates: recalibrated by Campbell Scientific on July 30, 2007, with certificate.  Testing showed datalogger “within tolerance” when received by CSI, prior to recalibration. 
i) Comments:  

7) ‘Slave’ Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: X 39210
d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: October, 2006

f) Date originally installed at SASP: October 22, 2005 (DOY 296)

g) Service/calibration dates: new equipment original calibration certificate September 16, 2004

h) Service/calibration dates: recalibrated by Campbell Scientific on August 23, 2007 with certificate.  Testing showed datalogger “within tolerance” when received by CSI, prior to recalibration. 

i) Comments: ‘slave’ datalogger required for input channels for two snow moisture sensors and two wind monitors; connected to primary datalogger using SDI-12 link. 

8) Multiplexer

a) Make: Campbell Scientific

b) Model: AM16/32

c) Serial Number: 6695

d) Type: relay

e) Acquisition date: September, 2004

f) Date installed at SASP: October 22, 2004 (DOY 296)

g) Service/calibration dates: new when installed.

h) Comments: housed in own enclosure, with system voltage regulator device.

9) Data Retrieval

a) Radio telemetry using phone-to-RF base station; no repeater utilized

i) Campbell Scientific model RF 310M modem; serial #1973

ii) Model RF310 Maxon SD-125 V2 VHF radio: serial #030604719

iii) Omni type, BA1012 antenna at SASP

10) Software

a) Campbell Scientific LoggerNet 2.1c

b) One SASP Edlog (LoggerNet 2.1c) programming versions (SASP0708V1.csi) utilized during Summer 2008.

11) Observer Contact Information

a) Name:  Chris Landry - Executive Director

b) Agency:  Center for Snow and Avalanche Studies

c) Address:  PO Box 190, Silverton, CO, USA 81433

d) Telephone:  (970) 387-5080

e) Email:  clandry@snowstudies.org
f) Website: http://www.snowstudies.org/index.html



12) Data processing and output methods (data points as labeled in Excel Spreadsheet):

a) Measurement execution interval:  5 seconds

b) Measurements: see table on following page 

Data processing and output methods (data points as labeled in Excel workbook SASP Summer 08 Data.xls):

	Spreadsheet Labels 

(some abbreviations expanded)
	Loc'n

#
	LoggerNet 2.1c

Instruction
	Type of

Measurement
	Notes

	Flag
	1
	P80
	na
	301 = 1 hour array

303 = 3 hour array

312 = solar noon array

324 = 24 hour array

	Year
	2
	P77
	Na
	Calendar year 

	Day of Year
	3
	P77
	na
	Sequential day of calendar year

	Time MST
	4
	P77
	na
	Mountain Standard Time at end of array period, in military time; previous day at midnight, 2400 at midnight

	Lo Air C Min

Time Minimum
	5

6
	P74
	Minimize
	Array lower air temperature (C) sensor minimum, time of minimum

	Lo Air C Max

Time Maximum
	7

8
	P73
	Maximize
	Array lower air temperature (C) sensor maximum, time of maximum

	Lo RH
	9
	P70
	Sample
	Lower RH sensor; samples relative humidity (%) once at end of array

	Upper Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Result) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	10

11

12

13

14

15
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S; resultant mean wind speed U; resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm.   

	Lower Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Result) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	16

17

18

19

20

21
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S (ms); resultant mean wind speed U (ms); resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm. 

	Py Dwn Unf W
	22
	P71
	Average
	Down-looking broadband pyranometer, in average watts/m2  

	Py Dwn Fil W
	23
	P71
	Average
	Down-looking NIR & SWIR filtered pyranometer, in average watts/m2  

	Py Up Unf W
	24
	P71
	Average
	Up-looking broadband pyranometer, in average watts/m2  

	Py Up Fil W
	25
	P71
	Average
	Up-looking NIR & SWIR filtered pyranometer, in average watts/m2  

	Py Up Sh W
	26
	P71
	Average
	Up-looking shadowed broadband pyranometer, in average watts/m2  

	Pyrgeom W
	27
	P71
	Average
	Up-looking pyrgeometer, in average watts/m2  

	Sno IR Temp
	28
	P71
	Average
	Average infra-red ground surface and plant temperature (degrees C) 

	SnoT Lo C
	29
	P71
	Average
	Not deployed during summer

	SnoT 2Lo C
	30
	P71
	Average
	Not deployed during summer

	SnoT Ctr C
	31
	P71
	Average
	Not deployed during summer

	SnoT 2Hi C
	32
	P71
	Average
	Not deployed during summer

	SnoT Hi C
	33
	P71
	Average
	Not deployed during summer

	HS M
	34
	P73 

P70
	Maximize

Sample
	Measuring plant height above ground (see Note 1 below)

	Sys Volts
	35
	P70
	Sample
	Voltage at datalogger (prior to regulation) sampled once at end of array 

	Table continued next page

	Array Tot H2O
	36
	P72
	Totalize
	Total mm precipitation during array

	Day Tot H2O
	37
	P70
	Sample
	Running daily total mm of precipitation, 0000 hrs through 2400 hrs

	Season Tot H2O
	38
	P70
	Sample
	Running water year total mm of precipitation, beginning October 1

	Baro In HG
	39
	P71
	Average
	Average barometric pressure, in inches of mercury, sampling the last five minutes of 301 (1 hour) arrays only

	Lo Air Avg C (324 arrays)
	40
	P71
	Average
	Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs

	Soil Flux W
	41
	P71
	Average
	Average heat flux (watts) entering or exiting soil

	Soil Surf C
	42
	P71
	Average
	Average temperature (C) at soil/air interface (sensor exposed to direct light)

	Soil -10 cm C
	43
	P71
	Average
	Average temperature (C) at 10 cm below ground surface

	Soil -20 cm C
	44
	P71
	Average
	Average temperature (C) at 20 cm below ground surface

	Soil -40 cm C
	45
	P71
	Average
	Average temperature (C) at 40 cm below ground surface

	Soil VWC
	46
	P71
	Average
	Volumetric water content (scale 0.0 to 1.0) of soil at 10 cm below ground surface

	Up Air C Min

Time Minimum
	47

48
	P74
	Minimize
	Upper air temperature (C) sensor array minimum, time of minimum

	Up Air C Max

Time Maximum
	49

50
	P73
	Maximize
	Upper air temperature (C) sensor array maximum, time of maximum

	Up RH
	51
	P70
	Sample
	Upper RH sensor; samples relative humidity (%) once at end of array

	Up Air Avg C (324 arrays)
	52
	P71
	Average
	Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs


NOTES:

(1)
Considerable noise in HS data (Loc 34) during summer months due to variations in plant positions, animal and humans in measurement area. 

Page 1 of 10

