METADATA

SBSG Summer 2005 Dataset

Senator Beck Stream Gauge (SBSG)

Senator Beck Basin Study Area (SBBSA), San Juan Mountains 

I. Senator Beck Stream Gauge (SBSG)

1) Site

a) Senator Beck Stream Gauge (SBSG)

i) RF Station ID = 4

(1) 10 minute arrays: Flag field = 400

(2) 1 hour data arrays:  Flag field = 401

(3) 24 hour data arrays: Flag field = 424

b) Site unlocked; datalogger enclosure locked with keyed padlock

c) Lat/Lon: 37( 54' 24" N, 107( 42' 31" W; NAD 1927

d) Elevation: 11,020 feet; 3,359 meters

e) Aspect: not applicable

f) Slope Angle: not applicable

g) Photographs: http://www.snowstudies.org/senbeck_sa.html
h) Changes to site: flume tailrace completed in summer 2005 

i) Comments: The broadcrested weir is equipped with a staff gauge for stage height and with automated sensors for stage, water temperature, and water electrical conductivity. 

2) Operation Status

a) Weir calibrated during summer of 2004 and early spring 2005 using manual discharge measurements performed at the weir at various stage heights by Colorado Division of Water Resource.  Those data were used to conform the "Q" function for the actual construction by the weir contractor, R&M Construction and a discharge table for the weir was finalized using:


[image: image1.wmf](

)

112

u

QKhK

=+


where:
h1 = stage height

K1 = 11


K2 = .07


u  = 2.75

b) Automated sensors operated for collection of 'Summer' datasets only, (spring through late fall), due to damage potential of instrument freezing 

c) Summer 2005 dataset from 0000 hrs April 10, 2005 (DOY 100) through 2400 hrs November 3, 2005 (DOY 307).

i) Automated stage height data begins 0000 hrs May 15, 2005 (DOY 135); erratic sensor readings caused by moisture in transducer vent prior to that date

ii) Automated measurement of pH was abandoned during the summer of 2005 due to instrument unreliability.

iii) Tailrace construction during low flows from 1200 Day 245 through 0900 Day 251 caused interruption in dataset; flows remained essentially unchanged during construction from pre-construction level.

d) All data collected on Mountain Standard Time, by day-of-year (DOY)

i) System clocks not switched from/to Mountain Daylight Time in Fall or Spring

ii) 24 hour summary datasets (Flag = 424) are calendar day 

3) Type of Site

a) Study Plot: SBSG is located at the Basin pourpoint in a small gorge cut through a bedrock outcrop.

4) Power

a) Solar powered by 10 watt photovoltaic panel providing regulated charge to 8 amp hour lead-acid 12V DC battery.

5) Sensors

a) Stage Height 

i) Properties

(a) Make: Druck (GE Infrastructure Sensors)

(b) Model: PDCR 1830-8388 transducer (CS420) 

(c) Serial Number: 1892202

(d) Type: 2.5 psi transducer

ii) Installation

(a) Located ___ feet upstream of weir crest (centerline) and 0.1 feet below weir notch base, in open-top PVC pipe 'well' covered by nylon mesh screen

(b) Service/calibration dates: new instrument at installation in summer 2004; function tested OK by GE April 21, 2005. 

(c) Comments: sensor cable housed in flexible PVC and steel conduit to desiccant enclosure on mast.

b) Water Temperature and Electrical Conductivity

i) Properties

(a) Make: Campbell Scientific

(b) Model: CS547A

(c) Serial Number: 3997

(d) Type: 

ii) Installation

(a) Located in perforated PVC mounted horizontally on weir's upstream face below notch level

(b) Date installed: operated during summer of 2004

(c) New sensor when installed in spring 2004 

(d) Comments: sensor is periodically cleaned with scrub brush to remove algae and other material; EC data show occasional 'jumps' related to those cleanings

6) Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: 39210

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: May 2004

f) Date installed at SBSG: Spring 2004

g) Service/calibration dates: new when installed in May, 2004

h) Comments: extended temperature tested (-55 to +85C)

7) Data Retrieval

a) Radio telemetry using phone-to-RF base station; no repeater utilized

i) Campbell Scientific model RF 310M modem; serial #2532

ii) Model RF310 Maxon SD-125 V2 VHF radio: serial #040106488

iii) Antennex Yagi type antenna with 9' coax cable, two Type N connectors; antenna serial #38089

iv) Poly-Phaser IS-50NX-C2 in-line antenna surge protector 

8) Software

a) Campbell Scientific LoggerNet 2.1c

b) Two SBSG Edlog (LoggerNet 2.1c) program versions (V1 and V2) utilized during Summer 2005. 

9) Observer Contact Information

a) Name:  Chris Landry - Executive Director

b) Agency:  Center for Snow and Avalanche Studies

c) Address:  PO Box 190, Silverton, CO, USA 81433

d) Telephone:  (970) 387-5080

e) Email:  clandry@snowstudies.org
f) Website: http://www.snowstudies.org/index.html



10) Data processing and output methods (data points as labeled in SBSG Summer 2005.xls Excel Spreadsheet):

a) Measurement execution interval:  5 seconds

b) Measurements: see table on following page for location labels per SBSG05V2.CSI 

Data processing and output methods (data points as labeled in Excel workbook  SBSG Summer 2005 Data.xls):

Spreadsheet Labels 

(some abbreviations expanded)
Loc'n

#
LoggerNet 2.1c

Ouput Instruction
Type of

Measurement
Notes

Flag
1
P80
na
400 = 10 minute array

401 = 1 hour array

424 = 24 hour array

Year
2
P77
Na
Calendar year 

Day of Year
3
P77
na
Sequential day of calendar year

Time MST
4
P77
na
Mountain Standard Time at end of array period, in military time; previous day at midnight, 2400 at midnight

EC (no T correction)
5
P70
Sample
EC uncorrected for water temperature; units are mScm-1

Water Temp C
6
P71
Average
Array average water temperature (C)

EC Correct 25C
7
P70
Sample
EC corrected to 25 deg C; units are mScm-1

Water Depth ft
8
P71
Average
Stage height in feet

System Voltage
9
P70
Sample
Voltage at datalogger

Manual Obs Staff Gauge

Na
Visual
Visual observation of staff gauge stage height 

_1192693847.unknown

