Metadata: SBSP Winter 0405 Data.xls 


METADATA

Winter 2004/2005 Dataset

Senator Beck Study Plot (SBSP)

Senator Beck Basin Study Area (SBBSA), San Juan Mountains 

I.  Senator Beck Study Plot (SBSP)

1) Site

a) Senator Beck Study Plot (SBSP)

i) RF Station ID = 2

(1) 1 hour data arrays:  Flag field = 201

(2) 3 hour data arrays: Flag field = 203

(3) Solar Noon arrays: Flag field = 212

(4) 24 hour data arrays: Flag field = 224

b) Site unlocked; instruments and tool case locked with keyed padlock

c) Lat/Lon: 37( 54' 25" N, 107( 43' 30" W; NAD 1927

d) Elevation: 12,200 feet, 3,719 meters

e) Aspect: NNE

f) Slope Angle: 3 degrees

g) Photographs: http://www.snowstudies.org/senbeck_sa.html
h) Changes to site: first year of operation; no alterations to tundra site

i) Comments: SBSP authorized by the Uncompahgre National Forest under a Special Use Permit

2) Operation Status

a) Installation built for continuous collection of 'Winter' and 'Summer' datasets spanning the 'water year' (October 1 through September 30)

i) 'Winter' datasets begin October 1 (start of 'water year') through last day of Spring (day before summer solstice)

ii) 'Summer' datasets extend from Summer Solstice through September 30 (day before start of 'water year' 

b) Winter 2004/2005 dataset from 0000 hrs October 4, 2004 (day-of-year 278) through 2400 hrs June 20, 2005 (day-of-year 171).

i) SBSP underwent major upgrades and re-programming in late 2004 and early 2005 resulting in missing data; see comments embedded in Excel worksheets
c) All data collected on Mountain Standard Time, by day-of-year (DOY)

i) System clocks not switched from/to Mountain Daylight Time in Fall or Spring

ii) 24 hour summary datasets (Flag = 224) are calendar day 

3) Type of Site

a) Study Plot: generally 'flat' and planar alpine basin site, exposed to wind

4) Power

a) Solar powered by 40 watt photovoltaic panel providing regulated charge to a 400 amp hour gel 12V DC battery bank.

5) Sensors

a) Upper Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: WM22659

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 9.6 m

(b) Distance from tower or obstacle: 0.6 m

(c) Date installed at SBSP: October 3, 2004  (DOY 297); 

(d) Service/calibration dates: original calibration February 1996; serviced by Campbell Scientific Inc. and verified within specifications July 20, 2004. 

(e) Comments: mounted to arm extending north from mast

b) Lower Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: WM61998

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: installed at 2.9 m above ground from October 3, 2005 (DOY 277) through January 19, 2005 (DOY 19), then raised to 4.0 m above ground for remainder of season (due to depth of snowpack).

(b) Distance from tower or obstacle: 0.9 m

(c) Date installed at SBSP: October 16, 2004

(d) Service/calibration dates: new instrument when installed, calibrated July 9, 2004.

(e) Comments: mounted to arm extending west from mast 

c) Air Temperature and Humidity

i) Properties

(a) Make: Campbell/Vaisala (CE humiter 50YC)

(b) Model: CS500-U

(c) Serial Number: #Z184003

(d) Type: 

ii) Installation

(a) Height above ground: installed at 2.7 m above ground from October 3, 2005 (DOY 277) through January 19, 2005 (DOY 19), then raised to 3.8 m above ground for remainder of season (due to depth of snowpack).  

(b) Distance from tower or obstacle: 0.6 m

(c) Date installed at SBSP: October 16, 2004

(d) Service/calibration dates: new instrument when installed, calibrated October 25, 2004.

(e) Comments: mounted on arm extending east from mast. 

d) Snowpack Depth

i) Properties

(a) Make: Campbell Scientific

(b) Model: SR50

(c) Serial Number: none

(d) Type: ultrasonic depth sensor

ii) Installation

(a) Height above ground: installed at 2.7 m above ground from October 3, 2005 (DOY 277) through January 19, 2005 (DOY 19), then raised to 3.8 m above ground for remainder of season (due to depth of snowpack).

(b) Distance from tower or obstacle: 0.9 m

(c) Date installed at SBSP: October 16, 2004

(d) Service/calibration dates: new unit when installed; unit failed February 26, 2005. Substituted CSAS UDG01 (Ser. #C1374) operated from secondary CR10 datalogger) and/or Campbell Scientific loaner SR50 until CSAS SR50 was repaired and returned to service March 23, 2005, using a 'sample' (versus 'maximize') instruction thereafter.

(e) Comments: mounted on arm extending west from mast. Wherever possible, bad data for short intervals were corrected by interpolation.  When bad data occurred over longer time periods, bad data were removed and no interpolation was performed resulting in missing data in some arrays.   

e) Solar Flux & Albedo Sensors (six total)

i) Properties

(a) Make: all units Kipp & Zonen

(b) Model: CM21 (all five pyranometers) and CG4 (pyrgeometer)

(c) Serial Numbers, by unit/location: 

(i) Up-looking 'broad band' CM21 pyranometer: Ser. #041366

(ii) Up-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041351

(iii) Up-looking shadowed 'broad band' CM21 pyranometer: Ser. #041367

(iv) Up-looking CG4 pyrgeometer: Ser. #040744

(v) Down-looking 'broad band' CM21 pyranometer: Ser. #041365

(vi) Down-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041352

(d) Type: spectral response, by types:

(i) 'Broad band' CM21 pyranometer: 305-2800 nm (50% points)

(ii) 'NIR to SWIR' CM21-RG695 pyranometer: 780-2800 nm (50% points)

(iii) CG4 pyrgeometer: 4.5-42 µm (50% points)

ii) Installation

(a) Height above ground: 

(i) Up-looking array: 9.4 m

(ii) Down-looking array: installed at 3.55 m above ground January 19, 2005 (DOY 19) through remainder of season.

(b) Distance from tower or obstacle: 

(i) Up-looking array: 0.5 - 0.6 m

(ii) Down-looking array: 1.3 - 1.5 m

(c) Date installed at SBSP: January 19, 2005 (DOY 19); all sensors

(d) Service/calibration dates: all new units upon installation; all units calibrated by Kipp & Zonen in November 2004

(e) Comments: no ventilation units installed; up-looking sensors rarely covered by fresh snow due to winds at site.  Up-looking 'shadowed' CM21 pyranometer deployed in Swiss ASRB-style array for 5 minutes of shadowing at/about solar noon each day.

f) Infrared Snow Surface Temperature

i) Properties

(a) Make: Everest Interscience

(b) Model: Series 4000.4ZL

(c) Serial Number: #6149

(d) Type: millivolt output type

ii) Installation

(a) Height above ground: variable.  Adjusted frequently to maintain at aprox. 1 meter above snow surface throughout winter.

(b) Distance from tower or obstacle: mounted on mast to look at aprox. 30 degree angle away from mast at snow surface

(c) Date installed at SBSP: March 11, 2005 (DOY 70)

(d) Service/calibration dates: three unsuccessful attempts to deploy prior to March 11, 2005 due to defective components; rebuilt and re-calibrated instrument installed March 11, 2005

(e) Comments: operating range -40 C to +80 C; emissivity fixed at 0.98.

g) Snow Temperature

i) Properties

(a) Make: Campbell Scientific

(b) Model: #107 (five sensors)

(c) Serial Number: na 

(d) Type: 

ii) Installation

(a) Height above ground: variable.  Sensor array relocated throughout winter season (see below).

(b) Distance from tower or obstacle: sensors located minimum of 5 meters from instrument mast

(c) Date installed at SBSP: January 20, 2005 (DOY 20)

(d) Service/calibration dates: sensors not serviceable; all five sensors new upon installation

(e) Comments: sensors mounted in copper tubing five-point 'trident' installed horizontally in undisturbed area of snowpack with sensor tips extending 5 cm beyond copper tubing; sensors spaced 10 cm apart (vertically) in the array; sensor locations above ground not specified in dataset and varied throughout season; snow temperature sensor array often adjusted to locate middle sensor at snow surface following mid-winter storms, with top two sensors 10 cm and 20 cm above snow surface, respectively, and lower sensors at -10 cm and -20 cm below the surface in order to track near-surface temperature gradients. Snow temperature sensor array data ends May 28, 2005 (DOY 148).

6) Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: 3884

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: September, 2004

f) Date installed at SBSP: October 3, 2005 (DOY 277)

g) Service/calibration dates: original calibration certificate July 4, 1996; re-calibrated by Campbell Scientific July 15, 2004 (updated operating system to Rev. 21)

7) Multiplexer

a) Make: Campbell Scientific

b) Model: AM16/32

c) Serial Number: 6694

d) Type: relay

e) Acquisition date: September, 2004

f) Date installed at SBSP: October 16, 2004 (DOY 290)

g) Service/calibration dates: new when installed.

h) Comments: housed in own enclosure.

8) Data Retrieval

a) Radio telemetry using phone-to-RF base station; no repeater utilized

i) Campbell Scientific model RF 310M modem; serial #2224

ii) Model RF310 Maxon SD-125 V2 VHF radio: serial #030604892

iii) Cellwave PS1121-3 dipole antenna 

9) Software

a) Campbell Scientific LoggerNet 2.1c

b) Four SBSP Edlog (LoggerNet 2.1c) programming versions (VA, VB, V3, and V7) utilized during Winter 0405, as new instrumentation came on-line. 

10) Observer Contact Information

a) Name:  Chris Landry - Executive Director

b) Agency:  Center for Snow and Avalanche Studies

c) Address:  PO Box 190, Silverton, CO, USA 81433

d) Telephone:  (970) 387-5080

e) Email:  clandry@snowstudies.org
f) Website: http://www.snowstudies.org/index.html



11) Data processing and output methods (data points as labeled in Excel Spreadsheet):

a) Measurement execution interval:  5 seconds

b) Measurements: see table on following page 

Data processing and output methods (data points as labeled in Excel workbook SBSP Winter 0405 Data.xls):

	Spreadsheet Labels 

(some abbreviations expanded)
	Loc'n

#
	LoggerNet 2.1c

Instruction
	Type of

Measurement
	Notes

	Flag
	1
	P80
	na
	201 = 1 hour array

203 = 3 hour array

212 = solar noon array

224 = 24 hour array

	Year
	2
	P77
	Na
	Calendar year 

	Day of Year
	3
	P77
	na
	Sequential day of calendar year

	Time MST
	4
	P77
	na
	Mountain Standard Time at end of array period, in military time; previous day at midnight, 2400 at midnight

	Min Air C 

Time Minimum
	5

6
	P74
	Minimize
	Array minimum air temperature (C), time of minimum

	Max Air C

Time Maximum
	7

8
	P73
	Maximize
	Array maximum air temperature (C), time of maximum

	RH
	9
	P70
	Sample
	Samples relative humidity (%) once at end of array

	Upper Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Resultant) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	10

11

12

13

14

15
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S; resultant mean wind speed U; resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm. (See Note 1 below table)

	Lower Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Result) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	16

17

18

19

20

21
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S (ms); resultant mean wind speed U (ms); resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm. (See Note 1 below table)

	Py Dwn Unf W
	22
	P71
	Average
	Down-looking broadband pyranometer, in average watts/m2  

	Py Dwn Fil W
	23
	P71
	Average
	Down-looking NIR & SWIR filtered pyranometer, in average watts/m2  

	Py Up Unf W
	24
	P71
	Average
	Up-looking broadband pyranometer, in average watts/m2  

	Py Up Fil W
	25
	P71
	Average
	Up-looking NIR & SWIR filtered pyranometer, in average watts/m2  

	Py Up Sh W
	26
	P71
	Average
	Up-looking shadowed broadband pyranometer, in average watts/m2  

	Pyrgeom W
	27
	P71
	Average
	Up-looking pyrgeometer, in average watts/m2  

	Sno IR Temp
	28
	P71
	Average
	Average infra-red snow-surface temperature (degrees C) 

	SnoT Lo C
	29
	P71
	Average
	Mean temperature (C) of lowest snow temperature sensor in five-sensor array

	SnoT 2Lo C
	30
	P71
	Average
	Mean temperature (C) of 2nd lowest snow temperature sensor in five-sensor array

	SnoT Ctr C
	31
	P71
	Average
	Mean temperature (C) of center snow temperature sensor in five-sensor array

	SnoT 2Hi C
	32
	P71
	Average
	Mean temperature (C) of 2nd highest snow temperature sensor in five-sensor array

	SnoT Hi C
	33
	P71
	Average
	Mean temperature (C) of highest snow temperature sensor in five-sensor array

	Table continued next page

	Table continued

	HS M
	34
	P73 
	Maximize
	Maximum height-of-snow during array 

	Sys Volts
	35
	P70
	Sample
	Voltage at datalogger (prior to regulation) sampled once at end of array 

	Day Avg Air C
	36
	P71
	Average
	Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs


NOTES:

(1) Output option #1 producing scalar average mean wind speeds only, with no directional weighting for average direction, used from October startup through January 20, 2005 (DOY 20).  Output option #2 used from January 20, 2005 (DOY 20) onward through end of season, producing scalar and resultant mean wind speeds, and direction-weighted wind direction averages.

Page 1 of 8

