## Sheet1
title | Senator Beck Study Plot Standard Name Table - Hourly
institution | Center for Snow and Avalanche Studies
study area | Senator Beck Basin Study Area
study plot | Senator Beck Study Plot
study plot location | 37°54'24.77918"N, -107°43'34.55556"W
study plot elevation | 3714 m, 12,186 ft
data source
metadata source
contact | jderry@snowstudies.org
data span | September 2024 - Present
Variable_Name | CF_Standard_Name | Long_Name | Units | Cell_Methods | Attribute_Name | Attribute_Value | Dimension_Name | Dimension_Axis | Dimension_Direction | Dimension_Value | Dimension_Unit | String_Location | Description
TIMESTAMP | time | Month day year hour minute timestamp | time | point | calendar | [6 empty] | 0 | Month day year hour minute timestamp
Record | no_standard_name | Index number |  | point | [7 empty] | 1 | Sequential index of time step
LoAIR_C_Min | air_temperature | minimum temperature at lower air sensor | Celsius | minimum | [7 empty] | 2 | Array lower air temperature (C) minimum
LoAIR_C_TMn | time | time of minimum temperature at lower air sensor | hh:mm | minimum | time | MST | [5 empty] | 3 | time of minimum
LoAIR_C_Max | air_temperature | maximum temperature at lower air sensor | Celsius | maximum | [7 empty] | 4 | Array lower air temperature (C) maximum
LoAIR_C_TMx | time | time of maximum temperature at lower air sensor | hh:mm | maximum | time | MST | [5 empty] | 5 | time of maximum
LoRH_pct_Avg | relative_humidity | relative humidity at lower air sensor |  | point | [7 empty] | 6 | Lower RH sensor; samples relative humidity (%) once at end of array
MS_UPWND_Max | wind_speed_of_gust | peak gust at upper wind sensor | m s-1 | maximum | [7 empty] | 7 | Peak Gust in meters per second at upper wind sensor
MS_UPWND_TMx | time | time of peak gust at upper wind sensor | hh:mm | point | [7 empty] | 8 | time of peak gust at upper wind sensor
MS_UP_Avg | wind_speed | scalar average wind speed at upper wind sensor | m s-1 | mean | method | Scalar | [5 empty] | 9 | scalar mean horizontal wind speed S from Campbell Scientific LoggerNet p69 output option 2
MS_UP_ResltntAvg | wind_speed | resultant average wind Speed at upper wind sensor | m s-1 | mean | method | Resultant | [5 empty] | 10 | resultant mean wind speed U from Campbell Scientific LoggerNet p69 output option 2
DIR_UP_ResltntVAvg | wind_from_direction | resultant average Wind direction at upper wind sensor | degree | mean | method | Resultant | [5 empty] | 11 | resultant (direction-weighted) mean wind direction from Campbell Scientific LoggerNet p69 output option 2
DIR_UP_STD | wind_from_direction | standard deviation of wind direction at upper wind sensor |  | standard_deviation | [7 empty] | 12 | standard deviation wind direction using Campbell Scientific algorithm
MS_LOWND_Max | wind_speed_of_gust | peak gust at lower wind sensor | m s-1 | maximum | [7 empty] | 13 | Peak Gust in meters per second at lower wind sensor
MS_LOWND_TMx | time | time of peak gust at lower wind sensor | hh:mm | maximum | [7 empty] | 14 | time of peak gust at lower wind sensor
MS_LOW_Avg | wind_speed | scalar average wind speed at lower wind sensor | m s-1 | mean | method | Scalar | [5 empty] | 15 | scalar mean horizontal wind speed S from Campbell Scientific LoggerNet p69 output option 2
MS_LOW_ResltntAvg | wind_speed | resultant average wind Speed at lower wind sensor | m s-1 | mean | method | Resultant | [5 empty] | 16 | resultant mean wind speed U from Campbell Scientific LoggerNet p69 output option 2
DIR_LOW_ResltntVAvg | wind_from_direction | resultant average Wind direction at lower wind sensor | degree | mean | method | Resultant | [5 empty] | 17 | resultant mean wind direction from Campbell Scientific LoggerNet p69 output option 2
DIR_LOW_STD | wind_from_direction | standard deviation of wind direction at lower wind sensor |  | standard_deviation | [7 empty] | 18 | standard deviation wind direction using Campbell Scientific algorithm
PyDWN_UNF_Avg | upwelling_shortwave_flux_in_air | broad band reflected shortwave radiation | W m-2 | mean | [7 empty] | 19 | Down-looking broadband pyranometer, in average watts/m2
PyDWN_FIL_Avg | upwelling_shortwave_flux_in_air | NIR/SWIR reflected radiation | W m-2 | mean | method | NIR/SWIR | [5 empty] | 20 | Down-looking NIR & SWIR filtered pyranometer, in average watts/m2
PyUP_UNF_Avg | downwelling_shortwave_flux_in_air | broad band shortwave downward radiation | W m-2 | mean | [7 empty] | 21 | Up-looking broadband pyranometer, in average watts/m2
PyUP_FIL_Avg | downwelling_shortwave_flux_in_air | NIR/SWIR downward radiation | W m-2 | mean | method | NIR/SWIR | [5 empty] | 22 | Up-looking NIR & SWIR filtered pyranometer, in average watts/m2
PyUP_SH_Avg | diffuse_downwelling_shortwave_flux_in_air | diffuse broad band shortwave downward radiation | W m-2 | mean | [7 empty] | 23 | Up-looking shadowed broadband pyranometer, in average watts/m2 ; diffuse measurement only occurs once/day at or near solar noon
PYRG_WATT_Avg | downwelling_longwave_flux_in_air | longwave downward radiation | W m-2 | mean | [7 empty] | 24 | Up-looking pyrgeometer, in average watts/m2
SNOSURF_C_Avg | surface_temperature | infra-red surface temperature of the snow | Celsius | mean | [7 empty] | 25 | Average infra-red snow surface temp (C)
SOILSURF_Avg | surface_temperature | soil temperature at ground surface | Celsius | mean |  |  | depth_below_ground | z | negative | 0 | cm | 26 | Average temperature (C) at soil/air interface (sensor exposed to direct light)
SOIL10_C_Avg | soil_temperature | soil temperature 10cm below surface | Celsius | mean |  |  | depth_below_ground | z | negative | 10 | cm | 27 | Average temperature (C) at 10 cm below ground surface
SOIL20_C_Avg | soil_temperature | soil temperature 20cm below surface | Celsius | mean |  |  | depth_below_ground | z | negative | 20 | cm | 28 | Average temperature (C) at 20 cm below ground surface
SOIL40_C_Avg | soil_temperature | soil temperature 40cm below surface | Celsius | mean |  |  | depth_below_ground | z | negative | 40 | cm | 29 | Average temperature (C) at 40 cm below ground surface
SnowDepth_mtr | thickness_of_snowfall_amount | depth of snowpack | m | point | [7 empty] | 30 | Height-of-snow sampled once at end of array
SYS_VOLTS | no_standard_name | system volts | Volts | point | [7 empty] | 31 | Voltage at datalogger (prior to regulation) sampled once at end of array
Soil_Flux_W_Avg | downward_heat_flux_at_ground_level_in_soil | net soil heat flux | W m-2 | mean | [7 empty] | 32 | Average net heat flux (watts) entering or exiting soil
SOIL_VWC_Avg | volume_fraction_of_condensed_water_in_soil | [10 empty] | 33
UpAIR_C_Min | air_temperature | minimum temperature at upper air sensor | Celsius | minimum | [7 empty] | 34 | Upper air temperature (C) minimum | Upper air temperature (C) minimum
UpAIR_C_TMn | time | time of minimum temperature at upper air sensor | hhmm | minimum | time | MST | [5 empty] | 35 | time of minimum | time of minimum
UpAIR_C_Max | air_temperature | maximum temperature at upper air sensor | Celsius | maximum | [7 empty] | 36 | Upper air temperature (C) maximum | Upper air temperature (C) maximum
UpAIR_C_TMx | time | time of maximum temperature at upper air sensor | hhmm | maximum | time | MST | [5 empty] | 37 | time of maximum | time of maximum
UpRH_pct | relative_humidity | relative humidity at upper air sensor |  | point | [7 empty] | 38 | Upper RH sensor; samples relative humidity (%) once at end of array | Upper RH sensor; samples relative humidity (%) once at end of array
SnoT_GndC_Avg | temperature_in_surface_snow | snow temperature at ground-snowpack interface | Celsius | mean |  |  | height_above_ground | z | positive | 0 | cm | 39 | Mean temperature (C) at ground-snowpack interface
SnoT_10C_Avg | temperature_in_surface_snow | snow temperature 10cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 10 | cm | 40 | Mean snow temperature (C) in snowpack at 10 cm above the ground surface
SnoT_20C_Avg | temperature_in_surface_snow | snow temperature 20cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 20 | cm | 41 | Mean snow temperature (C) in snowpack at 20 cm above the ground surface
SnoT_30C_Avg | temperature_in_surface_snow | snow temperature 30cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 30 | cm | 42 | Mean snow temperature (C) in snowpack at 30 cm above the ground surface
SnoT_40C_Avg | temperature_in_surface_snow | snow temperature 40cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 40 | cm | 43 | Mean snow temperature (C) in snowpack at 40 cm above the ground surface
SnoT_50C_Avg | temperature_in_surface_snow | snow temperature 50cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 50 | cm | 44 | Mean snow temperature (C) in snowpack at 50 cm above the ground surface
SnoT_60C_Avg | temperature_in_surface_snow | snow temperature 60cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 60 | cm | 45 | Mean snow temperature (C) in snowpack at 60 cm above the ground surface
SnoT_70C_Avg | temperature_in_surface_snow | snow temperature 70cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 70 | cm | 46 | Mean snow temperature (C) in snowpack at 70 cm above the ground surface
SnoT_80C_Avg | temperature_in_surface_snow | snow temperature 80cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 80 | cm | 47 | Mean snow temperature (C) in snowpack at 80 cm above the ground surface
SnoT_90C_Avg | temperature_in_surface_snow | snow temperature 90cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 90 | cm | 48 | Mean snow temperature (C) in snowpack at 90 cm above the ground surface
SnoT_100C_Avg | temperature_in_surface_snow | snow temperature 100cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 100 | cm | 49 | Mean snow temperature (C) in snowpack at 100 cm above the ground surface
SnoT_110C_Avg | temperature_in_surface_snow | snow temperature 110cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 110 | cm | 50 | Mean snow temperature (C) in snowpack at 110 cm above the ground surface
SnoT_120C_Avg | temperature_in_surface_snow | snow temperature 120cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 120 | cm | 51 | Mean snow temperature (C) in snowpack at 120 cm above the ground surface
SnoT_130C_Avg | temperature_in_surface_snow | snow temperature 130cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 130 | cm | 52 | Mean snow temperature (C) in snowpack at 130 cm above the ground surface
SnoT_140C_Avg | temperature_in_surface_snow | snow temperature 140cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 140 | cm | 53 | Mean snow temperature (C) in snowpack at 140 cm above the ground surface
SnoT_150C_Avg | temperature_in_surface_snow | snow temperature 150cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 150 | cm | 54 | Mean snow temperature (C) in snowpack at 150 cm above the ground surface
SnoT_160C_Avg | temperature_in_surface_snow | snow temperature 160cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 160 | cm | 55 | Mean snow temperature (C) in snowpack at 160 cm above the ground surface
SnoT_170C_Avg | temperature_in_surface_snow | snow temperature 170cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 170 | cm | 56 | Mean snow temperature (C) in snowpack at 170 cm above the ground surface
SnoT_180C_Avg | temperature_in_surface_snow | snow temperature 180cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 180 | cm | 57 | Mean snow temperature (C) in snowpack at 180 cm above the ground surface
SnoT_190C_Avg | temperature_in_surface_snow | snow temperature 190cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 190 | cm | 58 | Mean snow temperature (C) in snowpack at 190 cm above the ground surface
SnoT_200C_Avg | temperature_in_surface_snow | snow temperature 200cm above ground | Celsius | mean |  |  | height_above_ground | z | positive | 200 | cm | 59 | Mean snow temperature (C) in snowpack at 200 cm above the ground surface
VWC_5cm_Avg | volume_fraction_of_condensed_water_in_soil | soil volumetric water content |  | mean |  |  | depth_below_ground | z | negative | 5 | cm | 60 | Volumetric water content (range 0.0 to 1.0) of soil at 5 cm below ground surface
SoilTmpC5cm_Avg | soil_temperature | soil temperature 5 cm below surface | Celsius | mean |  |  | depth_below_ground | z | negative | 5 | cm | 61 | Average temperature (C) at 5 cm below ground surface
VWC_10cm_Avg | volume_fraction_of_condensed_water_in_soil | soil volumetric water content |  | mean |  |  | depth_below_ground | z | negative | 10 | cm | 62 | Volumetric water content (range 0.0 to 1.0) of soil at 10 cm below ground surface
SoilTmpC10cm_Avg | soil_temperature | soil temperature 10 cm below surface | Celsius | mean |  |  | depth_below_ground | z | negative | 10 | cm | 63 | Average temperature (C) at 10 cm below ground surface
VWC_20cm_Avg | volume_fraction_of_condensed_water_in_soil | soil volumetric water content |  | mean |  |  | depth_below_ground | z | negative | 20 | cm | 64 | Volumetric water content (range 0.0 to 1.0) of soil at 20 cm below ground surface
SoilTmpC20cm_Avg | soil_temperature | soil temperature 20 cm below surface | Celsius | mean |  |  | depth_below_ground | z | negative | 20 | cm | 65 | Average temperature (C) at 20 cm below ground surface
VWC_30cm_Avg | volume_fraction_of_condensed_water_in_soil | soil volumetric water content |  | mean |  |  | depth_below_ground | z | negative | 30 | cm | 66 | Volumetric water content (range 0.0 to 1.0) of soil at 30 cm below ground surface
SoilTmpC30cm_Avg | soil_temperature | soil temperature 30 cm below surface | Celsius | mean |  |  | depth_below_ground | z | negative | 30 | cm | 67 | Average temperature (C) at 30 cm below ground surface
VWC_40cm_Avg | volume_fraction_of_condensed_water_in_soil | soil volumetric water content |  | mean |  |  | depth_below_ground | z | negative | 40 | cm | 68 | Volumetric water content (range 0.0 to 1.0) of soil at 40 cm below ground surface
SoilTmpC40cm_Avg | soil_temperature | soil temperature 40 cm below surface | Celsius | mean |  |  | depth_below_ground | z | negative | 40 | cm | 69 | Average temperature (C) at 40 cm below ground surface
VWC_50cm_Avg | volume_fraction_of_condensed_water_in_soil | soil volumetric water content |  | mean |  |  | depth_below_ground | z | negative | 50 | cm | 70 | Volumetric water content (range 0.0 to 1.0) of soil at 50 cm below ground surface
SoilTmpC50cm_Avg | soil_temperature | soil temperature 50 cm below surface | Celsius | mean |  |  | depth_below_ground | z | negative | 50 | cm | 71 | Average temperature (C) at 50 cm below ground surface